THE PINES AT KAILUA-KONA I (“Pines I”)

GUIDELINES FOR APPROVAL OF COURTYARD

IMPROVEMENTS AND ADDITIONS TO BUILDINGS

January 9, 2017

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 1

TABLE OF CONTENTS

I. OVERVIEW

3

II. IMPROVEMENT REQUEST SUBMITTAL

III. BUILDING PLAN REQUIREMENTS

IV. ARCHITECTURAL DESIGN CRITERIA

V. ZONING CODE SETBACKS

VI. LANDSCAPING

4

4

4

5

6

VII. AIR CONDITIONING

8

VIII. SCREENING

8

IX. GARAGE WINDOW

8

X. VENTS AND FANS

8

XI. RAIN GUTTERS

9

XII. SOLAR

9

XIII. DISH TELEVISION

10

11

11

XIV. MOTION SENSOR LIGHTS

XV. TELEVISION, INTERNET AND PHONE INSTALLATIONS

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 2

I. OVERVIEW

These Guidelines have been prepared to assist the Pines I homeowner who is planning any courtyard

or building improvements, modifications, or additions; and the Board of Directors in complying with

the Bylaws, Declarations, and House Rules for the Pines I (hereinafter to be known as the Condo

Docs). They endeavor to maintain the aesthetics of the community, including, but not limited to, a

uniform appearance of the exterior, to respect the needs and rights of others living in the complex,

and to preserve property values.

The Guidelines are not intended, nor do they constitute approval of any improvement. Each

application shall be treated on a case-by-case basis, and approval of improvements at any one unit

may not be interpreted as approval for improvements to any other unit.

In the event of a conflict between the Condo Docs and these Guidelines, the Condo Docs, as

interpreted by the Board of Directors, prevail. These Guidelines may be amended by a majority vote

of the Board of Directors at any scheduled Board of Directors meeting. There shall be no liability for

the Board of Directors for their failure to follow the Guidelines in any particular instance.

In any event the decision of the Board of Directors is final.

These Guidelines are intended to be generic signposts of acceptable improvements. They do not

constitute mandatory construction techniques or materials and are to be used solely as examples of

acceptable materials and improvements.

All improvements, and/or installations affecting the limited common elements of the condo unit or

courtyard areas must comply with the Condo Docs, these Guidelines, and must be approved by the

Board. Board of Directors authorization is required prior to obtaining the necessary County of

Hawaii Building permits, and/or beginning construction.

No construction may begin before copies of required permits and name, and license number of

contractor are delivered to the Managing Agent.

Projects with less than $1000.00 total value, i.e.: parts and labor, and that do not require County of

Hawaii permits, and that meet the requirements of these Guidelines may be performed by the owner,

or other than licensed ontractor.

Upon receipt of a complete written request for improvements the Board shall endeavor to approve or

disapprove the request within thirty days.

After notification of approval, the owner shall return a signed copy of the approval to acknowledge

acceptance of the terms and conditions specified. Meeting all conditions of the Board and any

conditions imposed by the County of Hawaii, owner may commence construction.

Upon completion of the approved project the owner shall provide written notice to the Board

(through the Property Manager) so that the Board of Directors (or Design Review Committee) may

inspect the improvements to determine that they were constructed in compliance with the approved

plans.

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 3

All improvements shall meet or exceed the uniform building codes as well as County of Hawaii

building, electrical, and plumbing codes are applicable. In addition construction techniques must

meet or exceed industry standards for preventing termite and or dry rot damage to any building

structure or fence.

All construction is to take place between the hours of 8:00 a.m. and 6:00 p.m. Monday thru Saturday.

Homeowners shall request that the contractor park in the driveway of the unit under construction.

All improvements shall be completed within six months from the date of approval. After the

expiration date, the authorization may be voided.

II. IMPROVEMENT REQUEST SUBMITTAL

All plan requests shall be submitted to the Managing Agent:

Associa Hawaii

7

5-169 Hualalai Road

Kailua-Kona, Hawaii 96740

If plans do not meet the plan submittal requirements of these Guidelines, they cannot be accepted.

III. BUILDING PLAN REQUIREMENTS

A scaled 1/8” = 1’ drawing may be obtained from the Managing Agent. This site plan or one that

depicts the as-built conditions of your unit may be used, retain the original and submit copies for

approval, other scales, such as ¼” = 1’ may be used.

Requests for approval must be submitted digitally and/or as hard copy along with detailed and scaled

drawings showing the proposed improvement, floor plan, roof plan, building elevations, (include

plumbing and electric plan if required), and section drawings that clearly describe the construction

technique employed.

IV. ARCHITECTURAL DESIGN CRITERIA

All structural improvements must be architecturally compatible in design, material and color with the

original building concept of the Pines I. The Pines I community was conceived as ‘all electric’

homes – conversion to gas for inside appliances is prohibited by the AOAO insurance provider.

The approved roof material is the asphalt shingle. The approved roof design is the gable type. End of

gable may be of lattice, or chevron design. Lanai areas must not be enclosed. Treated lumber must be

used.

Paint colors must be the same as the unit involved. Samples and numbers are posted at the mailboxes

and can be purchased from HPM.

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 4

No improvement shall be installed or erected that will adversely impact adjoining homeowners.

Notwithstanding Board approval, the Board of Directors may determine what, if any, adverse impact

has occurred, and have owners make corrections at the owner’s expense.

No improvements shall be installed or erected, the top of which is higher than the roofline of the

existing building.

There shall be no projection, of any kind, into the side yard separation between the dwellings.

Pergolas in the side yard are not allowed (a few units have grandfathered pergolas).

Concrete pads, pavers, etc. shall be kept a minimum of eight (8) inches away from the adjacent house

pad or fences.

Nonskid tiles matching or complimenting unit colors may be used to cover concrete floors, pads, or

walkways.

White plastic lattice is the only approved material to install between the ground and the bottom of the

common area fences on the courtyard side. Lattice shall not extend above the height of the fence. It

is prohibited to nail, screw or hang anything on the hardy board fence; however, lattice may be

secured by screwing into the fence post. Other materials (lava rock, stone, cement pavers) may be

located below the bottom of the fence on the courtyard side.

(Board approved August 4, 2014 updated October 13, 2014)

White plastic lattice, installed in areas other than below the fences, must have a frame.

(Board approved October 13, 2014)

V. ZONING CODE SETBACKS

All improvements must conform to the minimum zoning code setback requirements of the County of

Hawaii. As follows:

A. Twenty (20) feet on, Nani Kailua Dr., Hualalai Rd., and Queen Kaahumanu Hwy.

B. Eight (8) feet along the south property line.

If the improvement is f post and beam construction, and is considered an open projection, and when

connected to the main structure may be approved providing that a minimum of fourteen (14) feet

open clear space is maintained between the edge of the open projection and the property lines along

Nani Kailua Dr., Hualalai Rd., and Queen Kaahumanu Hwy., and eight feet open clear space along

the south property line (not the fence).

Because the distance between the end wall of each dwelling and the property lines can differ, so the

distance that a post and beam structure can project may also be different. Owners are required to

check with the County Planning Department to determine the proper setback.

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 5

VI. LANDSCAPING

Reminder: Unit owners/occupants may landscape only within the courtyard through which they

access their unit. The Association of Apartment Owners, by its contracted landscape company,

maintains all landscaping in the common area.

CAUTION: Common area plants and lawns in front of units must not be decorated, e.g., for

Christmas or Halloween, by unit owners/occupants. The common area plants are treated with

pesticides that can be harmful when absorbed through unprotected skin. The lawn areas must be kept

free for periodic maintenance by the contract landscape company.

A. APPROVAL PROCEDURE:

1

2

3

. Removal of plants does not require approval but relandscaping does. No major excavation or

planting of the courtyard areas may be done without written approval of the Board of

Directors. If there is a question if your plan is ‘major’ be sure to ask the Property Manager

for help. The Board of Directors may limit the location, size and type of all landscaping and

may specify periodic trimming requirements.

. Plans: Unit owners must submit digitally and/or hard copy their proposed landscape plans, to

scale, to the Managing Agent. The plans must show: a schedule of plant species, sizes and

number; a planting plan; and an irrigation layout. The irrigation layout must show the

location of sprinkler heads and the spray coverage. It is important to keep in mind the adult

size of plants and the trimming requirements.

. Damage: Unit owners are responsible for damage to the unit or fences caused by courtyard

improvements, which are not in compliance with these Guidelines, the House Rules or the

Condo Docs.

B. LANDSCAPE CRITERIA:

1

. Drainage:

a. Hard Surface Limitation: No more than sixty percent (60%) of the courtyard area

may be covered with concrete, brick, pavers, etc. All concrete, brick, pavers and other

hard s rfaces on the side and front courtyards shall drain toward the street away from

the unit. A slope of at least one-quarter inch (1/4”) per linear foot is required away

from the unit.

(Board approved November 2015)

b. Gutters and Downspouts: See section XI. Rain Gutters in this document for specifics.

. Wood Prohibited: Wood may not be used for landscaping.

2

3

. Ground Clearance for Unit Siding: Within one foot (1’) from the unit, the ground surface,

including bare soil, sod and the height of grass, etc., must be at least six inches (6”) below the

unit’s siding.

4

. Prohibited Species: Banyan, papaya, coconut palms, ‘Hong Kong Orchid’ and banana plants

are not permitted, due to their potential size and pest problems, e.g. mosquitoes and rodents.

Prohibited species shall be removed at the Board’s direction and at the owner’s expense.

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 6

5

6

. Fruit Trees: Dwarf fruit trees, including dwarf bananas, are acceptable, provided all fruit is

contained within the unit’s courtyard and fallen fruit is removed immediately so as not to

cause odor, rodent or insect problems. If a fruit tree causes such problems, the Board may

direct that the tree be removed at the owner’s expense.

. Courtyard Structures and Decorations: Courtyard structures and decorations including

fountains, fishponds, spas, birdbaths, bird feeders, wind chimes, etc., shall not cause odor,

insect or rodent problems or cause loud and/or annoying noise during the quiet hours between

1

0:00 p.m. and 8:00 a.m.

7

. Height, View and Airflow: No landscaping structure or planting may obstruct the view plane

from any other unit or impede airflow to any other unit.

Height limitations are:



front courtyard = peak of either unit

(the area enclosed between the two units bordered by the front fence and a line

perpendicular to the garage wall, along the front edge of the entry porch across to

the neighbor's unit);



side courtyard = eaves of either unit along the side courtyard

(the area enclosed between the two units bordered by a line perpendicular to the

garage wall, along the front edge of the entry porch across to the neighbor's unit

and a line from the back corner of the unit to the back corner of the neighbor’s

unit, excluding lanais).



back courtyard = peak of either unit

(the area enclosed between the two units bordered by a line from the back corner

of the unit to the back corner of the neighbor’s unit, excluding lanais, and the

back fence or rock wall)

Courtyard vegetation should be kept inside the unit's courtyard. Except palm fronds and tree

branches may extend over the courtyard fence or wall as long as they do not obstruct or

hinder access in common areas, or substantially shade common area landscaping. It is the

responsibility of the unit occupant to dispose of all palm fronds and tree branches that fall

from the unit courtyard into the common area. Also, courtyard landscaping shall not be

permitted to grow against or under the unit's courtyard fence or wall. Each unit owner shall

be responsible to insure that the unit's landscaping does not grow against or under the unit's

courtyard fence or wall. All costs to repair or replace a courtyard fence or wall damaged by a

unit's landscaping will be the sole responsibility of the unit owner. The Pines 1 at Kailua

Kona AOAO has the authority to remove offending courtyard landscaping at the unit's

owners expense.

All palms (Family Arecaceae) are exempt from trimming heights. At maturity all palm

trunks must be at least 4 feet from any unit or garage (including eaves and gutters), and at

least 3 feet from any fences or rock walls. Courtyard palms must be maintained so that all

dead fronds and fruiting bodies are removed from the tree. No palm fronds may hang over

the fences or walls into the common space that shade the common area plants, fall into the

common space or obstruct the landscapers maintaining the common space. Any palm

deemed to have outgrown these requirements will need to be removed by the homeowner.

Palms in place prior to Sept. 2015 are grandfathered in. However, any palm where the roots

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 7

encroach on the fence, wall or unit shall be cut back by the owner away from said structures

to eliminate possible damage.

(Board approved September 2015)

C. LANDSCAPE MAINTENANCE:

1

. Trimming Required: All plantings must be trimmed to continue to comply with the

restrictions stated. Any landscaping element that outgrows its space, and/or infringes upon

any common element shall be removed at the Board’s direction and at the owner’s expense.

2

. Chemical Spraying: Spraying of herbicides, pesticides or other chemicals shall be done only

after 8:00 a.m. and only if the wind is still. Occupants of units adjacent to the unit to be

sprayed shall be notified of when spraying will be done. If the spraying causes harm,

discomfort or annoyance to occupants of other units, such spraying must be stopped

immediately.

VII. AIR CONDITIONING

A. Window air conditioning units are not permitted!

B. A plan must be submitted prior to the installation of an air conditioner. The plan must include a

brochure displaying the model, model number, and type.

C. All plumbing and electrical lines shall be routed within the walls, or chased in such a manner that

avoids exposure.

D. The AC Air Compressor shall be placed as close as possible to the unit and minimize any

unsightly exposure or noise to adjacent units.

VIII. SCREENING

A. All screened doors or windows must have white frames.

B. On plans #3 or #4, the developer provided lanai might be screened. The screen must be installed

so that it will easily open in an emergency.

IX. GARAGE WINDOW

A window similar to developer installed models, not to exceed 40”x30”, may be installed facing your

unit’s courtyard.

X. VENTS AND FANS

A. An attic vent may be installed at the top of the short protruding wall at the rear of the unit.

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 8

B. An attic vent, architecturally matching the garage vent, may be installed in front of the unit.

C. An exhaust fan, whose noise level does not disturb neighbors, may be installed. A licensed

contractor must be used to cut a hole in the roof and complete the installation. No part of the unit

may protrude above the highest roof peak, and must in all ways meet the requirements of these

Guidelines.

XI. RAIN GUTTERS

A. Approved guttering is the white seamless type, and must drain toward the front of the house and

garage, with downspouts draining inside the courtyard.

B. Gutters may be installed only upon review and approval by the Board.

C. Downspouts or chains must direct water away from the unit’s concrete pad.

XII. SOLAR

County of Hawaii building permit required for all applications. All solar applications remain the

property of the homeowner, who must accept responsibility for immediate repair, replacement, or

removal if unit threatens any common area. All solar equipment that is non-operational is to be

expeditiously removed as the responsibility of the ow er. Owner responsibility will run with the title

and it is the responsibility of the current owner to disclose to any new owner. No solar equipment

shall exceed the height of the roof ridgeline and should be placed so as to minimize any unsightly

exposure to adjacent units and common space.

(Board approved July 2013)

A. Solar Hot Water

All units must be of the flat plate design and be installed with a union close to the collector to

facilitate removal.

B. Solar Water heating panels must be placed on the garage roof, and must have connection valves

for removal of panels when roofing work is necessary. Owner is responsible for any additional

cost involved with removal and replacement of solar panels and all repairs and maintenance of

solar water heating.

C. Solar Exhaust Fans (See section X. C. for specifics.)

D. Solar Photovoltaic (PV) Electrical systems:

1

. All solar PV electrical systems must adopt the most current County of Hawaii

GUIDELINES FOR PERMITTING A RESIDENTIAL PHOTOVOLTAIC (PV) ROOF

MOUNTED SYSTEM: http://www.hawaiicounty.gov/pw-pv-guidelines.

2

. The owner shall provide the Pines I Board of Directors with a scaled drawing showing

location of major components on the property necessary to integrate the solar PV array

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017 Page 9

with the site load (building). This includes but is not limited to the solar panels, array

circuit wiring, fusing, disconnects, main panel, meter and power processing equipment.

3

4

5

. All solar equipment mounted on common elements (roofs, walls, etc.) must have

connections to facilitate removal for re-roofing, painting, re-siding, and other repairs to

the common space elements.

. All electrical lines shall be routed within the walls, or chased in such a manner that

avoids exposure. Those portions that are exposed are to be painted to conform to the

color of the house or roof.

. The only solar PV components that can be externally mounted on the common elements

(unit roof and external surfaces) are the solar panels, the emergency responder’s

disconnect switch, main electrical panel and meter. All other associated equipment,

including array circuit wiring, fusing, disconnects, monitoring devices and power

processing equipment may not be mounted externally on the common elements. All

boxes must be installed inside of the garage.

6

. The emergency responders disconnect switch shall preferably be located in the immediate

vicinity of the HELCO meter serving the unit. The disconnect switch must be accessible

to emergency personnel and be capable of being locked in an open position.

7

8

. Installation of Solar Photovoltaic (PV) Electrical systems must be installed by a licensed

contractor.

(Board approved July 2013)

. As part of the design plan submittal to the Pines I Board of Directors, the Owner and PV

contractor shall submit a signed copy of the ‘Solar Photovoltaic (PV) Electrical System

Agreement’ form (available from the Pines I Managing Agent) agreeing to comply with

the PV installation requirements (1-7 above).

E. Solar Tubes are allowed if board approved

A licensed contractor must be used to cut a hole in the roof and complete the installation. No

part of the unit may protrude above the highest roof peak, and must in all ways meet the

requirements of these Guidelines.

XIII. DISH TELEVISION

Dish Television appliances must be installed in the most neighbor friendly location possible to still

obtain service. The unit may NEVER be installed through the roof, and whenever possible must be

installed at the base of the unit within the courtyard area. By the installation of this unit the owner

understands that should the Association bear any additional costs relating to this unit in connection

with the maintenance of the common element all associated costs are the responsibility of the unit

owner.

(Board approved September 2001)

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017Page 10

XIV. MOTION SENSOR LIGHTS

Board approval is needed for motion sensor lights.

Low profile motion sensor lights are acceptable in a white finish for wall mount only. The lights

must be directed down toward the ground so as to not infringe on any neighboring property.

(Board approved April 18, 2006 updated August 1, 2016)

XV. TELEVISION, INTERNET AND PHONE INSTALLATIONS

A. All television, internet and phone installations remain the property of the homeowners, who must

accept the responsibility for immediate repair, replacement, or removal if the unit threatens any

common area. All equipment that is non-operational is to be expeditiously removed as the

responsibility of the owner. Owner responsibilities will run with the title and it is the

responsibility of the current owner to disclose to any new owner. No equipment shall exceed the

height of the roof ridgeline and should be placed as to minimize any unsightly exposure to

adjacent units and common space.

B. TV dishes may not be mounted on or penetrate the common element roofing shingles.

C. All wiring, cabling and plumbing shall be routed within the walls, or chased in such a manner

that avoids exposure. Those portions that are exposed are to be painted to conform to color of

house or roof.

(Board approved July 2013)

Even though a criteria has been established for some applications,

Board of Director authorization for improvement must still be

obtained before any construction may begin!

Guidelines for Approval of Courtyard Improvements and Additions to Buildings/Jan 9, 2017Page 11